## Slide 1
Which Hand?
Robyn Gebbie and Jesse van der Merwe
Project 22P59, Group 22G05

## Slide 2
Focused Ultrasound Treatment
  Focused Ultrasound is used to treat Parkinson’s Disease and Essential Tremor
  This treatment delivers acoustic energy to one side of the patient’s thalamus
  This process causes small lesions to form on this part of the brain, interrupting abnormal brain activity and causing the patient to have fewer uncontrollable movements, such as tremor
  This treatment only improves the tremor on one side of the patient’s body

## Slide 3
Before Treatment
After Treatment

## Slide 4
Data & Pre-Processing

## Slide 5
  Fully anonymised data provided by the Rambam Medical Centre, Haifa, Israel.
  Ethical clearance obtained from University of Witwatersrand HREC Committee (Medical).
  122 patients total:
    34 with Parkinson’s disease
    88 with essential tremor
Data: Overview

## Slide 6
Hand | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years | 5 Years…
TREATED |  |  |  |  |  |  |  |  |  | 
UNTREATED |  |  |  |  |  |  |  |  |  | 
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
Data: Patient #5 Example

## Slide 7
Hand | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years | 5 Years…
TREATED |  |  |  |  |  |  |  |  |  | 
UNTREATED |  |  |  |  |  |  |  |  |  | 
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
Data: Patient #5 Example

## Slide 8
Hand | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years | 5 Years…
TREATED |  |  |  |  |  |  |  |  |  | 
UNTREATED |  |  |  |  |  |  |  |  |  | 
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
Data: Patient #5 Example
BEFORE TREATMENT

## Slide 9
Hand | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years | 5 Years…
TREATED |  |  |  |  |  |  |  |  |  | 
UNTREATED |  |  |  |  |  |  |  |  |  | 
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
MISSING DATA
Data: Patient #5 Example
BEFORE TREATMENT
AFTER TREATMENT

## Slide 10
Data Pre-Processing: Overview
Image Isolation Code
Kelvin da Santos: “Tremor Classification”
Adrian Rosebrock: “OpenCV Text Detection (EAST text detector)”
Extract Line-C with Rotation/Warp Correction
Adrian Rosebrock: “OpenCV shape detection”
jdhao: “Cropping Rotated Rectangles from Image with OpenCV”
Improvement of Original Code
Better logic checks
Improved error checking
Extraction of Line-Block C
Extending original code to also extract line-drawing C
1
2
3
4

## Slide 11
Data Pre-Processing: Image Isolation Code
1
Kelvin da Santos’ spiral isolation code: Logic

## Slide 12
Data Pre-Processing: Image Isolation Code
1
Kelvin da Santos’ spiral isolation code: Advantages
Text detection is challenging – not part of project scope
Based on article by Adrian Rosebrock: “OpenCV Text Detection (EAST text detector)”
  Efficient and Accurate Scene Text detection pipeline
Deep learning based text detection
https://github.com/kdasilva835842/tremor_classification/blob/master/Cropping/isolateSpirals.py

## Slide 13
Data Pre-Processing: Image Isolation Code
1
Kelvin da Santos’ spiral isolation code: Disadvantages
Does not include sufficient error correction, only removal
Deep learning-based text detection might be overkill considering the template format of each image
Detects any and all text – picks up erroneous markings
Simpler and more efficient methods available
https://github.com/kdasilva835842/tremor_classification/blob/master/Cropping/isolateSpirals.py

## Slide 14
Data Pre-Processing: Extracting Line-Block C
2
Expanding the code to extract the line-block C

## Slide 15
Data Pre-Processing: Improving the Code
3
Logic checks: Remove extra detected text

## Slide 16
Data Pre-Processing: Improving the Code
3
Error correction: Missing “Drawing A”

## Slide 17
Data Pre-Processing: Improving the Code
3
Error correction: Missing “Drawing B”

## Slide 18
Data Pre-Processing: Improving the Code
3
Error correction: Missing “Drawing C”

## Slide 19
Data Pre-Processing: Extracting Line C with Warp Correction
4
The extracted line-block C

## Slide 20
Data Pre-Processing: Extracting Line C with Warp Correction
4
Extracting line-drawing C with rotation/warp correction
Poor detection
REFERENCES:
Adrian Rosebrock: “OpenCV shape detection” – https://pyimagesearch.com/2016/02/08/opencv-shape-detection/

## Slide 21
Data Pre-Processing: Extracting Line C with Warp Correction
4
Extracting line-drawing C with rotation/warp correction
Poor detection
REFERENCES:
Adrian Rosebrock: “OpenCV shape detection” – https://pyimagesearch.com/2016/02/08/opencv-shape-detection/

## Slide 22
Data Pre-Processing: Extracting Line C with Warp Correction
4
Extracting line-drawing C with rotation/warp correction
Poor detection More accurate detection

## Slide 23
Data Pre-Processing: Extracting Line C with Warp Correction
4
Extracting line-drawing C with rotation/warp correction
Poor detection More accurate detection Corrected image
REFERENCES:
jdhao: “Cropping Rotated Rectangles from Image with OpenCV” – https://jdhao.github.io/2019/02/23/crop_rotated_rectangle_opencv/

## Slide 24
Data Pre-Processing: Overview
Image Isolation Code
Kelvin da Santos: “Tremor Classification”
Adrian Rosebrock: “OpenCV Text Detection (EAST text detector)”
Extract Line-C with Rotation/Warp Correction
Adrian Rosebrock: “OpenCV shape detection”
jdhao: “Cropping Rotated Rectangles from Image with OpenCV”
Improvement of Original Code
Better logic checks
Improved error checking
Extraction of Line-Block C
Extending original code to also extract line-drawing C
1
2
3
4

## Slide 25
Data Pre-Processing: Overview
Image Isolation Code
Kelvin da Santos: “Tremor Classification”
Adrian Rosebrock: “OpenCV Text Detection (EAST text detector)”
Extract Line-C with Rotation/Warp Correction
Adrian Rosebrock: “OpenCV shape detection”
jdhao: “Cropping Rotated Rectangles from Image with OpenCV”
Improvement of Original Code
Better logic checks
Improved error checking
Extraction of Line-Block C
Extending original code to also extract line-drawing C
1
2
3
4
Method 1: Method 2: Spiral A Line-drawing C

## Slide 26
Method 1

## Slide 27
Spiral Tremor Quantification
Preparation
Images were resized.
x and y coordinates of the spiral pixels were extracted.
Relative Orientations
The angles made by the gradients of the spiral edges relative to the centre of the spiral were determined.
Pixel Angles
The angle that each pixel made with a horizontal line through the spiral centre was determined
Sobel Edge Detection
The angles made by the gradients of the spiral edges were determined

## Slide 28
Spiral Tremor Quantification
Preparation
Images were resized.
x and y coordinates of the spiral pixels were extracted.
Relative Orientations
The angles made by the gradients of the spiral edges relative to the centre of the spiral were determined.
Pixel Angles
The angle that each pixel made with a horizontal line through the spiral centre was determined
Sobel Edge Detection
The angles made by the gradients of the spiral edges were determined

## Slide 29
Spiral Tremor Quantification
Preparation
Images were resized.
x and y coordinates of the spiral pixels were extracted.
Relative Orientations
The angles made by the gradients of the spiral edges relative to the centre of the spiral were determined.
Pixel Angles
The angle that each pixel made with a horizontal line through the spiral centre was determined
Sobel Edge Detection
The angles made by the gradients of the spiral edges were determined

## Slide 30
0
0
0
-7
-4
-5
-3
-4
-2
0
-4
-2
-3
-1
-5
-3
-4
-6
-7
-5
-6
-8
-6
0
-5
-6
-7
-5
0
-4
-5
-6
-4
0
-3
-4
-5
-3
0
-2
4
6
5
7
2
4
3
5
3
5
4
6
1
3
2
4
5
7
6
4
3
2
6
5
4
8
7
6
5
5
4
3
-3
-4
-2
0
-1
1
3
4
2
Vertical Sobel Filter Convolved with Image Array
=

## Slide 31
Calculation of the Orientation of an Edge Gradient

## Slide 32
Spiral Tremor Quantification
Preparation
Images were resized.
x and y coordinates of the spiral pixels were extracted.
Relative Orientations
The angles made by the gradients of the spiral edges relative to the centre of the spiral were determined.
Pixel Angles
The angle that each pixel made with a horizontal line through the spiral centre was determined
Sobel Edge Detection
The angles made by the gradients of the spiral edges were determined

## Slide 33
Finding the Spiral Centre

## Slide 34
Finding the Angle a Pixel Makes with the Spiral Centre

## Slide 35
Spiral Tremor Quantification
Preparation
Images were resized.
x and y coordinates of the spiral pixels were extracted.
Relative Orientations
The angles made by the gradients of the spiral edges relative to the centre of the spiral were determined.
Pixel Angles
The angle that each pixel made with a horizontal line through the spiral centre was determined
Sobel Edge Detection
The angles made by the gradients of the spiral edges were determined

## Slide 36
Histogram of Relative Orientations From -90 to 90
Before Treatment
After 1 Week of Treatment

## Slide 37
Treated Hand |  |  |  |  |  |  |  |  | 
Patient | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years
1 | 0,69804 | 0 | 0,23772 | 0 | 0 | 0 | 0,29025 | 0 | 0
2 | 0 | 0,28156 | 0 | 0 | 0,43467 | 0,36525 | 0,50393 | 0 | 0,42806
3 | 0 | 0 | 0 | 0 | 0,25260 | 0,38433 | 0,33108 | 0 | 0,30270
4 | 0,58526 | 0 | 0,14992 | 0 | 0 | 0,29416 | 0 | 0,25833 | 0,27149
5 | 0,67957 | 0,36255 | 0 | 0,34376 | 0 | 0,40972 | 0,47997 | 0,39660 | 0,43313
6 | 0,71281 | 0 | 0,30393 | 0,49919 | 0 | 0,47245 | 0,50885 | 0 | 0,48108
7 | 0 | 0 | 0,27176 | 0 | 0,21851 | 0,33371 | 0,46089 | 0,25351 | 0,31964
8 | 0,52692 | 0 | 0 | 0 | 0 | 0,51366 | 0 | 0 | 0,33659
9 | 0 | 0,49157 | 0,47242 | 0 | 0,76578 | 0 | 0 | 0 | 0
10 | 0,53985 | 0,60501 | 0,61649 | 0 | 0 | 0 | 0,66800 | 0,66869 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0,81357 | 0 | 0,65765 | 0 | 0,52252 | 0,46261 | 0 | 0 | 0
13 | 0,64515 | 0 | 0,11996 | 0,22116 | 0 | 0 | 0,28093 | 0 | 0
14 | 0,58010 | 0 | 0 | 0,54242 | 0 | 0 | 0,49908 | 0,50493 | 0
15 | 0,64107 | 0 | 0 | 0,38314 | 0 | 0 | 0 | 0,39679 | 0
Untreated Hand |  |  |  |  |  |  |  |  | 
Patient | Before | 1 Week | 1 Month | 3 Months | 6 Months | 1 Year | 2 Years | 3 Years | 4 Years
1 | 0,40887 | 0 | 0,36628 | 0 | 0 | 0,25913 | 0 | 0,50348 | 0
2 | 0 | 0,22898 | 0 | 0 | 0,42819 | 0 | 0,61826 | 0 | 0,5444
3 | 0,59158 | 0 | 0 | 0 | 0,34025 | 0,45434 | 0,20970 | 0,27805 | 0,46490
4 | 0,27908 | 0 | 0,38202 | 0 | 0 | 0,34371 | 0,37276 | 0,45124 | 0,25776
5 | 0,28789 | 0,50874 | 0 | 0,41490 | 0 | 0,57673 | 0,54196 | 0,48261 | 0,65204
6 | 0,46463 | 0 | 0,27557 | 0,48461 | 0 | 0 | 0,47006 | 0 | 0,43042
7 | 0 | 0 | 0,38798 | 0 | 0,31109 | 0,42080 | 0,50225 | 0,16933 | 0,33612
8 | 0,28709 | 0 | 0 | 0 | 0 | 0,47970 | 0 | 0 | 0,11800
9 | 0 | 0 | 0 | 0 | 0 | 0,87702 | 0 | 0 | 0
10 | 0,71581 | 0,51664 | 0,54556 | 0,36939 | 0 | 0 | 0,44500 | 0,35811 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0,81730 | 0 | 0,56598 | 0 | 0,66104 | 0 | 0 | 0 | 0
13 | 0,43488 | 0 | 0 | 0,49257 | 0 | 0,58450 | 0 | 0,48633 | 0
14 | 0,74771 | 0 | 0 | 0 | 0 | 0,55042 | 0,76094 | 0 | 0
15 | 0,56392 | 0 | 0 | 0,39887 | 0 | 0 | 0 | 0,45953 | 0
Generated Dataset – Normalised Standard Deviations of Relative Orientations

## Slide 38
Method 2

## Slide 39
Method 2: Overview
Reduce noise
PIL Image Python package
Apply methods 2A and 2B
NumPy and SciPy Python packages
RFFT to remove unwanted frequencies
SciPy Python package
Convert to array of coordinates
NumPy Python package
1
2
3
4

## Slide 40
Method 2: Reduce Noise
1
Reduce noise by:
Converting to grayscale
Mapping all pixels to either black or white
https://pillow.readthedocs.io/en/stable/reference/Image.html

## Slide 41
Method 2: Convert to Array
2
Use NumPy’s to detect indices of all black pixels and save to multidimensional array
Extract the x- and y-coordinates
Sort array by y-coordinates
Shift y-values down to centre line around the x-axis
https://numpy.org/doc/stable/index.html
Pixels detected
Shifted pixels
Original line-drawing C

## Slide 42
Method 2: RFFT
3
Using SciPy.fft package:
Transform to frequency domain ()
Remove unwanted high frequencies
Inverse transform ()
https://docs.scipy.org/doc/scipy/index.html

## Slide 43
Method 2: Applying Method 2A
4
Method 2A: Average area under line
Take absolute value of array
Use NumPy function:
  Calculate average area over array
https://numpy.org/doc/stable/index.html

## Slide 44
Method 2: Applying Method 2B
4
Method 2B: Average peaks peak-trough distance
SciPy returns coordinates of peaks
Loop through array and calculate distance between all peaks and adjacent troughs
Multiply these two values
https://numpy.org/doc/stable/index.html

## Slide 45
Method 2: Results
Calculated Value | Before | After
Total area |  | 
Standard deviation of total area |  | 
Maximum value |  | 
Maximum frequency |  | 
METHOD 2A: Average area |  | 
Standard deviation of average area |  | 
Number of peaks |  | 
Average peak-trough distance |  | 
METHOD 2B: Num. peaks avg. peak-trough distance |  | 
Calculated Value | Before | After
Standard deviation of total area |  | 
Standard deviation of average area |  | 
Number of peaks |  | 

## Slide 46
Method 2: Results
Calculated Value | Before | After
Total area |  | 
Standard deviation of total area |  | 
Maximum value |  | 
Maximum frequency |  | 
METHOD 2A: Average area |  | 
Standard deviation of average area |  | 
Number of peaks |  | 
Average peak-trough distance |  | 
METHOD 2B: Num. peaks avg. peak-trough distance |  | 
Calculated Value | Before | After
Standard deviation of total area |  | 
Standard deviation of average area |  | 
Number of peaks |  | 

## Slide 47
Results

## Slide 48
Patient #5 | Patient #5 | Before Treatment | After Treatment
METHOD 1 | Spiral A |  | 
 | Normalised Standard Deviation | 0.64 | 0.15
METHOD 2 | Line C |  | 
 | Average Area (TRAPZ) | 13.44 | 0.86
 | Num. Peaks Avg. Peak-Trough Distance | 69.67 | 17.02
Patient #5 | Patient #5 | Before Treatment | After Treatment
METHOD 1 | Spiral A |  | 
 | Normalised Standard Deviation | 0.64 | 0.15
METHOD 2 | Line C |  | 
 | Average Area (TRAPZ) | 13.44 | 0.86
 |  | 69.67 | 17.02
Results: Patient #5 Summary

## Slide 49
Results: Normalised Average Tremor Severity
Method 1: Spiral Analysis
Method 2A: Average Area
Method 2B: Num Peak Avg. Peak-Trough Distance

## Slide 50
Results: Percentage of Patients with Tremor Before Treatment that Improved After Various Treatment Times
Percentage of patients that improved | Method 1 | Method 2A | Method 2B
Treated hand |  |  | 
Untreated hand |  |  | 
Percentage of patients that improved | Method 1 | Method 2A | Method 2B
Treated hand |  |  | 
Untreated hand |  |  | 
Method 1: Spiral Analysis
Method 2A: Average Area
Method 2B: Num Peak Avg. Peak-Trough Distance

## Slide 51
Results: Patient #5 Normalised Tremor Severity Rating
Chart: Normalised Tremor Severity Rating
| Before Treatment | After Treatment
METHOD 1 | 0.64 | 0.15
METHOD 2A | 0.66 | 0.04
METHOD 2B | 0.69 | 0.16